| # Document Title | Safety Statement Belmayne Educate Together National School | Rev. No. | 014 |
| --- | --- | --- | --- |
| Date |  | Subject | ##### Emergency Evacuation Policy |
| Section | 11.0 | Page No. | 1 of 4 |

11.1 Introduction to Emergency Evacuation Policy

An Emergency Evacuation Procedure has been established at Belmayne Educate Together National School that will cover all operations of the School. As every incident is unique, the procedure will illustrate the principles to be followed. The most likely emergency to occur on the premises is a fire.  An “Evacuation Procedure in case of fire” has been drawn up to ensure a coordinated response to any on site fire or other emergencies.

All employees will be instructed in and should make themselves aware of the location of all fire points and the minimum requirements on how to initiate the alarm and ensure that they are capable of a controlled evacuation, should an emergency arise in the School.  All fire points will be wall mounted, indicated with fire point signs and kept clear of obstructions at all times.  Emergency evacuation drills will be carried out on a termly basis.  Records of all drills will be maintained   (See Appendix H).

Emergency Site Controller (Joe):  The Emergency Site Controller will assume overall responsibility for the management and control of any emergency situation on site until the arrival of the emergency services

Deputy Emergency Site Controller (Gearóid): If the Emergency Site Controller is not present, the Deputy Emergency Site Controller will assume overall responsibility for the management and control of any Emergency on site until the arrival of the Emergency Services. If neither are available, responsibility will rest with the next most senior member of staff.

Teaching staff: If the alarm sounds, the teaching staff will evacuate their classes in an orderly manner. They will call class rolls at the assembly point and await direction from the Emergency Site Controller.

| # Document Title | Safety Statement Belmayne Educate Together National School | Rev. No. | 014 |
| --- | --- | --- | --- |
| Date |  | Subject | ##### Emergency Evacuation Policy |
| Section | 11.0 | Page No. | 2 of 4 |

11.2 Statutory Testing of Fire/Evacuation Equipment

In accordance with the statutory requirements, certain examinations, testing and inspections must be completed.

Test/Inspection/Examination	Frequency		Inspector

Fire Fighting Equipment		12 Monthly		External – Contractor

Fire Alarm System			12 Monthly		External – Contractor

Emergency Lighting			12 Monthly		External - Contractor

Records of these statutory examinations or tests should be filed with this Safety Statement and/or in the Fire Register.  The Health & Safety Representative will coordinate these statutory tests.

| # Document Title | Safety Statement Belmayne Educate Together National School | Rev. No. | 014 |
| --- | --- | --- | --- |
| Date |  | Subject | ##### Emergency Evacuation Policy |
| Section | 11.0 | Page No. | 3 of 4 |

11.3(a) Emergency Evacuation Procedure

Prompt action in the first few minutes of a fire can determine the eventual outcome of that fire.  Nothing listed in the following bullets takes priority over the safety of the pupils and employees, ensuring their continued personal safety.

In the event of an emergency after normal school hours, the assembly point is also basketball court. If an emergency occurs between the hours of 2.20 and 6.00pm, the afterschool manager shall be the Emergency Site Controller. All staff on site during this time must take direction from the Afterschool manager, as the ESC.The school is equipped with a refuge system on each landing where people with mobility issues can make contact with the emergency site controller at the alarm panel. In the event of an emergency, the ESC will be at the alarm panel and will arrange for a safe evacuation of that person or persons by way of an escape device.

11.3(b) If you come across a Fire;

Should a fire occur in any area of the School, the following actions should be taken:

- Ensure the alarm is raised.  Obtain assistance if required.

- Providing you have been trained and it is safe to do so, attempt to extinguish or contain the fire using the appropriate extinguishers etc.  DO NOT PUT YOURSELF AT RISK.

- Always ensure a safe exit is available when tackling a fire; never let the fire get between you and the exit.

- Evacuate the Building & Move towards the Assembly Point

- Call the Fire Brigade

11.3(c) Standard Operating Procedures and Roles if you hear the Fire alarm

Teachers Role

- Listen for the alarm.

- Line the children up at the classroom door.

- Check toilets.

- Teacher stands at the classroom door and counts the children as they leave the class.

- Promptly leave the class and make your way to the nearest exit.

- Remember to close the classroom door and put a chair outside the door thus indicating that the room is clear and everyone is out.

- WALK QUICKLY but CALMLY and QUIETLY.  NO OVERTAKING.

- DO NOT RETURN for anything you have forgotten.

- Move to the Assembly Points

- Take a Roll call of your class

- Wait for direction from the ESC

Principal’s Role

- Once the building has been evacuated, liaise with the ESC to ensure that the building is fully evacuated.

Deputy Principal’s Role

- Once the building has been evacuated, liaise with the ESC to ensure that the building is fully evacuated.

Exit and Assembly points

The School Assembly Points are now located in the Basketball Court.

All staff and children should follow the Emergency Evacuation Procedure.

Break –Time - In the unlikely event of the alarm going off at Break.

- Staff should leave the room they are in promptly and go back to class to assist in the Evacuation of classes.

- If your class is outside during lunchtime, go directly to the area where they would normally be and line them up.

- If children are in class eating - Staff on Supervision should send the children to the basketball Court

- Support Staff should go and assist with their Liaison Class.

Secretary’s Role

- If the alarm is activated - Ring 999 or 112 and alert the Emergency Services

- Make your way to assembly Point at the Basketball Court.

ESCs Role ESC

- Remain on site until the school is exited

- Liaise with wardens, secretary and class teachers at the assembly area.

- Collect roll calls from each teacher.

- Liaise with emergency services if required.

First Aid/Emergency Procedure

The standard First Aid/emergency procedure shall continue to apply in schools. In an emergency or in case of a serious incident, schools should call for an ambulance or the fire brigade on 112/999 giving details of location and type of medical incident.

It is recognised that it is not always possible for staff to maintain physical distance from pupils and it is not appropriate that they would always be expected to do so where this could have a detrimental impact on the pupil i.e. if a child sustains an injury and requires first aid.

Appropriate PPE will be available for dealing with suspected COVID-19 cases, intimate care needs and for first aid. Where staff provide healthcare to children with medical needs in the school environment they should apply standard precautions as per usual practice.

| # Document Title | Safety Statement Belmayne Educate Together National School | Rev. No. | 014 |
| --- | --- | --- | --- |
| Date |  | Subject | ##### Emergency Evacuation Policy |
| Section | 11.0 | Page No. | 4 of 4 |

11.4 Emergency Contact Numbers.

| SERVICE | LOCATION | TELEPHONE NO. |
| --- | --- | --- |
| Fire Brigade | Dublin | 112 or 999 |
| Hospital | Dublin | 112 0r 999 |
| Local Ambulance | Dublin | 112 or 999 |
| Gardai | Dublin | 112 or 999 |
| Coolock Garda Station | Dublin | 01 6664200 |
| Guardian – Fire Maintenance |  | 051448774 / 087 6046204 |
| McIlwaineIntruderSecurity | Dublin | (01) 623 9164 |
| Secure Facility Services – Key Holders | Dublin | (01) 5160414 |
| HSE | Dublin | https://www.hse.ie/eng/ |

Mobile numbers available for Management from the office.